[image: image1.wmf]Nominal size

Maximum pressure

Less than 65mm

30 bar

80mm

25 bar

100mm

20 bar

125mm

16 bar

150mm

13 bar

200mm

10 bar

250mm

8 bar

300mm

6 bar

350mm

5 bar

400mm

5 bar

450mm

4 bar

500mm

4 bar

600mm

3 bar


Date: September 4, 2006

To whom it may concern

Subject: PED Statement

Dear Sir/Madam,

I would like to send you a PED statement as attached.

Trust the attached responds to you.
Sincerely,

[image: image3.png]


　　　　　　　　　　　　　　　　　　　　　　　　　　　Taro Sento  –  Director

Industrial Products Marketing Department
Advanced Automation Company

Yamatake Corporation
PED for Yamatake Magnetic flowmeter MagneW

September 4, 2006

This is to state where Yamatake magnetic flowmeter MagneW is categorized under Pressure Equipment Directive (97/23/EC).

Product Classification and relevant tables

Magnetic flowmeter is classified as piping and the medium physical property for the magnetic flowmeter is liquid.  

Consequently the related PED tables are Table 8 and Table 9.

[image: image4.png]


[image: image5.png]bang

1000-

0.

100.

o

arcts 3, parsgraph ¢

on=zs

o1 H

0

28

100

oN




       Table 8 for dangerous liquid                     Table 9 for non dangerous liquid

Yamatake MagneW is in accordance with SEP category (Article 3, paragraph 3)　and should be used in the SEP category.

For the description of SEP category (Article 3, paragraph 3), please refer to the following.
Article 3, paragraph 3

Pressure equipment and/or assemblies below or equal to the limits in sections 1.1, 1.2 and 1.3 and section 2 respectively must be designed and manufactured in accordance with the sound engineering practice (SEP) of a Member State in order to ensure safe use. Pressure equipment and/or assemblies must be accompanied by adequate instructions for use and must bear markings to permit identification of the manufacturer or of his authorized representative established within the Community. Such equipment and/or assemblies must not bear the CE marking.

Yamatake investigated manufacturer's (seller's) responsibility by checking through appropriate documents in a Quality Assurance Department which worked for technical conformity of PED before. It was found in the investigation that all the inquiries/orders from purchaser to the seller must state "compliance with PED is required for the application. If this requirement is not written in the document that seller receives, products under Article 3, Paragraph 3 (SEP category) can be sold and shipped. Yamatake has never received such requirements so far, that is why Yamatake has shipped the products under SEP category which is legal.
For your quick reference, the following is the available maximum pressure in size.

Table for applicable maximum pressure in size for dangerous liquids


[image: image6.png]PS
(ban g

1000-

0.

100.

0

arcts 3, parsgraph ¢

o1 H 10 00 1000 10000 ON




Table for applicable maximum pressure in size for non dangerous liquids


[image: image2.wmf]Nominal size

Maximum pressure

Less than 65mm

30 bar

80mm

30 bar

100mm

30 bar

125mm

30 bar

150mm

30 bar

200mm

30 bar

250mm

20 bar

300mm

16 bar

350mm

14 bar

400mm

12 bar

450mm

11 bar

500mm

10 bar

600mm

10 bar


Current models Yamatake can deliver under the Pressure Equipment Directive
We cannot deliver product if order conditions are:
Customer asks for PED conformity   AND   DN*PN>2000   AND   MGG model
Or 
Customer asks for PED conformity   AND   DN*PN>2000   AND   MTG model 
Any other condition, we can deliver.
Future plan for the Pressure Equipment Directive
Yamatake is considering to have a certification of Pressure Equipment Directive (97/23/EC). 
As the first step, Yamatake is going to deliver MGG wafer style model with PED conformity but available timing for wafer PED models will be identified and announced separately. 

For the other models, no plan has been established, yet.
�EMBED PBrush���








YAMATAKE CORPORATION  TOKYO BLDG., 2-7-3, MARUNOUCHI, CHIYADA-KU, TOKYO 100-6419 JAPAN

_1205767247.xls
Sheet1

		Nominal size		Maximum pressure

		Less than 65mm		30 bar

		80mm		25 bar

		100mm		20 bar

		125mm		16 bar

		150mm		13 bar

		200mm		10 bar

		250mm		8 bar

		300mm		6 bar

		350mm		5 bar

		400mm		5 bar

		450mm		4 bar

		500mm		4 bar

		600mm		3 bar






_1211095491

_1205767245.xls
Sheet1

		Nominal size		Maximum pressure

		Less than 65mm		30 bar

		80mm		30 bar

		100mm		30 bar

		125mm		30 bar

		150mm		30 bar

		200mm		30 bar

		250mm		20 bar

		300mm		16 bar

		350mm		14 bar

		400mm		12 bar

		450mm		11 bar

		500mm		10 bar

		600mm		10 bar






