Clarification for control valves and on-off valves

Job.No.51-2967-00  CAOJING HYCO1 STEP2 project
Valve body sizing in the quotation were decided by CV calculation data and not by the piping size.

Please note that the quotation price does not include following items.

a)  Extension Pass Through (Rubber Bellows)

b)  Isolation Air Valves

c)  Material Certificate

d)  Special tests for the control valves. 
The cost for the following tests are included in the quotation price.

1) Control valve’s performance test.

2) Hydro pressure test for the body and bonnet.

3) Seat leakage test.

Yamatake Corporation

