[image: image1.emf].

PROPOSAL NO.: Q20051747

 

19-sept-05

To:  Hadi Industry Engineering

Mr Henry Jos

Email 16/09/05

In Den Weiden 40

42799 Leichlingen - FRG

Tel: +49 2175 880973

Fax: +49 2175 880972

Henry.Jos@t-online.de

Dear Sir,

We have pleasure in quoting you as follows:

End User : Unknown , through Hadi Industry Engineering in German . 

INQUIRY No. : Email 16/09/05

Item Description Q'ty Unit Unit Price Amount (euro)

I  Yamatake transmitters 1 lot €647,00

*Refer to the next  page for details .

II Total FOB Japan 1 lot €647,00

Delivery Time :   5 weeks  after receipt of order (Ex-factory basis ) 

Manufacturer :  Yamatake Corporation

Packing Information : 

Very truly yours,

Regis Houllier

Product Division director

Item Description Q'ty Unit Unit Price (euro) Amount (euro)

1 Differential  Pressure  Transmitter 

Model No. :  STD920-E1H-00000-P-C7E9 1 ea €525,00 €525,00

Code   Feature/Option

STD920 Basic model No. : Standard Type for medium Differential Pressure Transmitter

Measuring  Span : 75 to 10160 mmH2O  (0.75 to 100kPa)

Electrical connection : 1/2  NPT (F) ,     Supply power : DC 24V,

Adjustable Range  :  0 - 750 mmH2O

-E  Material for  meter body cover : SCS14A,

Material for wetted parts  : Diaphragm : SUS316L,  Others : SUS316

1  Fill Fluid : Regular type (Silicone oil)

H  Process Connection :  Front connection (side),  1/2 NPT (F),  Adapter flange(SCS14A) 

-00000   No selection

-P  Option I : Built-in Indicating smart meter (0 to 100% linear scales)

-C7  Option II : Custom calibration

-E9  Option II : Mounting bracket 

2-2 Manifold Valve for Differential Pressure Transmitter. 1 ea €122,00 €122,00

  Model No. : MVG1-2SA-X-A

Code    Feature/Option 

MVG1  Manifold Valve (Standard arms)

Connection of Instrument side : Direct mounting

Connection of  Process side : Flange connection 1/2NPT(F)  with adapter flange 

-2  Body material : SUSF316

S  Joint bolts for Instrument : SUS304

A  Corrosion Finish : Body -- No finish,  Handle -- Corrosion resistant finish 

-X  No extension pipe

-A  Option : Assembly with transmitter

* Refer to the specification sheet (SS2-MVG100-0100) attached .

Sub Total €647,00

P R O P O S A L

YAMATAKE Europe

Bosdellestraat 120/2

B-1933 zaventem (Sterrebeek) Belgium


