[image: image2.png]DC24V

Power supply
1
{ 7

Pressure sensor

Proportional
valve

T

Vet —[= =5 . — »TCDvent
& Skl - C T
Camior __ | _ _ T8 it =
gas inlet — =T
valve
Column system
0]






To Whom It May Concern:
HGC 32bit model description

1.
General

This document describes HGC 32bit model design structure.

HGC 32bit model is introduced to meet with electronics parts discontinue and to comply with RoHS regulation.  HGC 32bit model is designed to keep functional compatibility with HGC 16bit model.

CE conformity for EMC requirements is again tested.

2. Design structure
2.1
Design change is made for electronics of Digital board (CPU) in order to comply with RoHS conformity and discontinuation of components.

[image: image1.png]Yamatake Corporation




2.2
Other design is not changed

Enclosures

Manifold

Mechanical parts

TCD sensor

Analyzer valve

Column system

[image: image2.png]

Date:

25 January 2008

Signature:

Name:
Regis Houllier

Yamatake Europe
Industrial division Director









































































































































































































































































































































































































































































Design change











