[image: image1.png]



Date: June. 7, 2006

To: NIPPON GOHSEI UK LTD

   SOARNOL HOUSE

   SALTEND

   HU12 8DS HULL

   THE UNITED KINGDOM
Attn: Mr. Tom Rhodes, Senior Instrument / Electrical Engineer 

Subject: Control valves supplied on SL EU project
Dear Sir,

We would like to express our sincere appreciation for your patronage on our products, first of all.

Regarding the control valves supplied to your esteemed company on the captioned project, we would like to direct your attention to the following points.

1. In November 2005, a part of grand packing was withdrawn by the supplier and replaced with new models, so we modified the spare part list one by one according to those changes when we received your inquiries from the last time.
2. As a result of further investigation with the grand packing supplier, we understood that fully coated but an asbestos contained grand packing was assembled with total 33 control valves, which please refer to the attached list (Table 1) for details.

3. Since there are no possibilities of scattering of asbestos itself in the air during normal plant operation, we would recommend you to replace those existing grand packing with new version gradually, however please do not cut it in pieces when you dismantle the applied grand packing from control valve since a possibility of scattering of asbestos would be arisen. In case of such condition, please moisturize the parts by a mist or a water spray by wearing an anti-dust mask during the disposal work goes on. Also, please be so kind enough to comply with “Waste Disposal and Public Cleaning Law” on disposal of the applied grand packing.
Thank you very much for your attention and cooperation to the above.

Sincerely,

Nobuyoshi Sudo – Senior Manager

2nd International Sales Department

International Business Division

Advanced Automation Company

YAMATAKE CORPORATION

�EMBED PBrush���








YAMATAKE CORPORATION  TOKYO BLDG., 2-7-3, MARUNOUCHI, CHIYADA-KU, TOKYO 100-6419 JAPAN

[image: image2.png]


_1211182946

