
Control Valve Data Sheet
Page
1 / 2
Item No. / Qty
1
1
Ref. No.
Tag No.
 
Purchaser
“Œæ²’Ê�Ì

End user
�Z—F�¸‰»
Service
 
Project
<Control valve>
<Remarks>
Model
HTS
  SV0001-001  Parts material 304ss: Bolts & nuts of 

valve body
Description
 Top-Guided Single Seated Control Valves
  SV0501-201  Actuator and bonnet mounting position 
Body/Port size (in.)
1-1/2
1
No.2

  SV0201-003  Seat leakage: Less than 0.01%CV 
Conn. Size. / Rated CV
10
(Equivalent IEC, JIS Class IV)
Rating / Conn. Type
JIS10K
RF
  SV0812  Traceablity certificate
Body material
 SCPH2
    
Trim material
 SUS316 STELLITE
Flow characteristic
 EQ%
    
Bonnet
 PLAIN (-17 to 230 degC)
    
Actuator / Handle
 HA2R
Action
 AIR TO OPEN
Gland packing / Grease
 NP4519
PS6
    
Gasket
 V543
    
Air supply / Spring 
270kPa
80-240kPa
Seat leakage
 CLASS IV
    
Color:
Body/Diaph./Yoke
M10B5/10
M10B5/10
M10B5/10
    
Paint
 Standard
<Accessories>
    
Positioner
 AVP300-XSD2A-1DYT-X
Structure
 Water-proof, Rc 1/4, G1/2
Input signal
 4-20 mADC
    
Regulator
 KZ03-2A-XX
1
    
Regulator2
 
Limit switch
 
    
Action
 
    
Solenoid valve
 
Action / Power
 
Unit name
 
    
Booster
 
    
Air lock valve
 
<Process data>
    
Fluid name/Phase
STEAM

 
MAX
NOR
MIN
Unit
       
Flow rate
kg/h
Inlet pressure
barG
HPG

Strength Calc. 
Outlet pressure
barG
Sheet
Differential press.
bar
HPG Categoly
Shut-off press.
bar
HPG Fluid
Temperature
degC
<Piping spec.>
Density/Gravity(Liq)
kg/m3
Design
MPaG
Density/Gravity(G,
kg/m3(A)

Temp.
degC
Viscosity
cP
Flash
%
Size
Calculated CV
 
Sch No.
Travel
%
Thickness
Outlet velocity
Mach
Predictive SPL
dBA
Yamatake 

2009/07/03

Control Valve Data Sheet
Page
2 / 2
Item No. / Qty
2
1
Ref. No.
Tag No.
 
Purchaser
“Œæ²’Ê�Ì

End user
�Z—F�¸‰»
Service
 
Project
<Control valve>
<Remarks>
Model
AGVB
  SV0001-001  Parts material 304ss: Bolts & nuts of 

valve body
Description
 Top-Guided Single-Seat Control Valves
  SV0501-201  Actuator and bonnet mounting position 
Body/Port size (in.)
1-1/2
1
No.2

  SV0201-003  Seat leakage: Less than 0.01%CV 
Conn. Size. / Rated CV
14
(Equivalent IEC, JIS Class IV)
Rating / Conn. Type
JIS10K
RF
  SV0812  Traceablity certificate
Body material
 SCPH2
    
Trim material
 SUS316 STELLITE
Flow characteristic
 EQ%
    
Bonnet
 PLAIN (-17 to 230 degC)
    
Actuator / Handle
 PSA1R
Action
 AIR TO OPEN
Gland packing / Grease
 NP4519
    
Gasket
 V543(PTFE)
    
Air supply / Spring 
270kPa
80-240kPa
Seat leakage
 CLASS IV
    
Color:
Body/Diaph./Yoke
M10B5/10
M10B5/10
M10B5/10
    
Paint
 Standard
<Accessories>
    
Positioner
 AVP300-XSD2A-1DYS-X
Structure
 Water-proof, Rc 1/4, G1/2
Input signal
 4-20 mADC
    
Regulator
 KZ03-2A-XX
1
    
Regulator2
 
Limit switch
 
    
Action
 
    
Solenoid valve
 
Action / Power
 
Unit name
 
    
Booster
 
    
Air lock valve
 
<Process data>
    
Fluid name/Phase
STEAM

 
MAX
NOR
MIN
Unit
       
Flow rate
kg/h
Inlet pressure
barG
HPG

Strength Calc. 
Outlet pressure
barG
Sheet
Differential press.
bar
HPG Categoly
Shut-off press.
bar
HPG Fluid
Temperature
degC
<Piping spec.>
Density/Gravity(Liq)
kg/m3
Design
MPaG
Density/Gravity(G,
kg/m3(A)

Temp.
degC
Viscosity
cP
Flash
%
Size
Calculated CV
 
Sch No.
Travel
%
Thickness
Outlet velocity
Mach
Predictive SPL
dBA
Yamatake 

2009/07/03
