[image: image1.png]YINATAKE




International Business Division

NO. BLTN-02-07-C                                                           

Date:           March 1, 2002
To:              Those listed


From:         Yoshi Yamazaki -  IBD Business Development
Subject:      SDC40A/B 24Vdc Model Availability

Purpose:
To announce the availability of the 24Vdc model for the SDC40A/B digital indicating 

controllers. 
Summary:  By meeting with the market request, the function of 24Vdc power supply was added to the

                    current SDC40A/B controllers.  The model selection code for power supply is “DS”
as follows:

                     Examples:   SDC40A:  (1) 90-264Vac 50/60Hz →  SDC40A0D0AS 00000    “Code: AS”　

                                                          (2) 24Vdc                       →  SDC40A0D0DS 00000    “Code: DS”
                                        SDC40B:   (1) 90-264Vac 50/60Hz →  SDC40B5G4AS 09100    “Code: AS”　

                                                          (2) 24Vdc                       →  SDC40B5G4DS 09100    “Code: DS”
                     Specifications except the followings are same as those of the SDC40:

	Rated power supply 
	24Vdc ±2%

	Operating power supply 
	21.6 to 26.4Vdc

	Dielectric strength
	500Vac 50/60Hz between power supply                   

terminal and ground

	Power consumption
	Max. 12W (under operating conditions)

	Inrush current
	Max. 15A 100ms (under operating conditions)


　

YAMATAKE CORPORATION  INTERNATIONAL BUSINESS DIVISION 
TOTATE INTERNATIONAL BLDG., 2-12-19, SHIBUYA, SHIBUYA-KU, TOKYO  JAPAN TEL: 81-3-3486-2331 FAX: 81-3-3486-2300

2

[image: image1.png]