[image: image1.jpg]Comnunicat fan Port—————| -Communicat ion Setup————— [Font size-
C Port COMI  Port COMS € Use Loader Cable o7

C Port COM2 € Port cowio | | Use CHCTOL S

C Port COM3  C Port cowt1 || C Use CHCT0B

 Por e ®
(O HN @G G Station address/Station sub address;

€ Port CONS " Port COMI3 o

Station adress [T 3]

© Port CONS C Port COMI4 =/ g

€ Port CON " Port COMIS

© Port CONB C Port COMIS Stetlon sub eddress[;—— 2] || 12
(Transnission speed—Data Length- Parity ~Stop bits
 4800bps @ even pari

2 7 bit Ciseneaity &1 stop bit

C se0nbes ot it

& 13200bps i 2 i ottt
 38400bps ! © no parity #hof biix
(Fixed Cell Widih

! J
ok Cancel





1st :  Menu → Option(E)

Choose “Use CMC10L” at the Communion Set up column. 

Set Address of DMC10 at the Station address/Station column.

For instance using 2 pcs of SDC15 and in case their address were No,1 and No,2

here choose 1 or 2 . This is for Numerical monitor selection.

[image: image2.jpg]Monitor :0FF|Trend Monitor :OFF -0 i
Eile Numeric Monitor (M) Window®¥) | Option @) Trend Monitor(D Help

Exes  =EEE
& Alarmif)
Nuneric Honitor Nuneric Group & Gommend Line(®)

Group Monitor 1 9 4 5
Tag
Py
Ea
[
SP Select

Proport ional Band(P)

Inteeral tine(1)

Derivative tine(D)

Output low linit
Output hizh linit
PID Select
RUN/READY
AUTO/MANUAL

Auto Tunine
LSP/RSP

13

| >





2nd : After enter “Monitor” screen, open “Set up” of the Option(o) column.

[image: image3.jpg]Nuneric Honitor Nuneric Group Honitor |Trend Manitor | Trend Manitor(individusi) | Digital Tr

nt

Use

o |

Iteat

Itess
Ttend
Iteas

Ttess
Ttea?
Itess

Use: zllo, T¥es.
CPL Address: 256 to 92767
Foint: 0 o 3

Canm. sddress: 0 to 127
conn. sub address: 0 to 127

e





3rd : Choose “Numeric Monitor”.

Then set “Address” of SDC15. 

For instance using 2 pcs of SDC15 and there address were No,1 and No,2 

then you can choose 1 and 2.

The column of “Use” are selection of indicate or not, that mean use numeric monitor 

or not.

Above settings are for Numerical grope monitor!
That’s all very simple !

If you have farther inquiry please be informed me later.
 

