[image: image1.png]



80392120-003 Revision 00
 EC DECLARATION OF CONFORMITY

[image: image2.wmf]
We, Yamatake Corporation 

Shonan Factory

4-1-1 Omagari, Samukawa-machi

Koza-gun, Kanagawa-ken, 253-0113, JAPAN

declare under our sole responsibility that the products intended for use in explosive atmosphere:

ST3000 Smart Pressure Transmitters Series 900
to which this declaration relates, comply with the requirements of the following Directives:

· 89/336/EEC as amended by 92/31/EEC and 93/68/EEC on the approximation of the laws of the Member States relating to electromagnetic compatibility

· 94/9/EC of the European Parliament and the Council of 23 March 1994 on the approximation of the laws of the Member States concerning equipment and protective systems intended for use in potentially explosive atmospheres.

This declaration is based on:

· the technical file 80392123-002
· the EC-type examination certificate KEMA 03ATEX1225 X
· the respect of the following standards:
EN 61326:1997, Electrical equipment for measurement, control and laboratory use- EMC requirements
Amendment A1:1998 and A2:2001 to EN 61326:1997

EN 50014:1997, Electrical apparatus for potentially explosive atmospheres - General requirements

EN 50020:2002, Electrical apparatus for potentially explosive atmospheres - Intrinsic safety ‘i’
EN 50284:1999, Special requirements for construction, test and marking of electrical apparatus of equipment

group II, Category 1 G 
The name, identification number and address of the notified body responsible for the production quality assurance notification are:

· KEMA

· 0344

· Utrechtseweg 310, 6812 AR Arnhem, P.O. Box 5185, 6802 ED Arnhem, THE NETHERLANDS

The authorized signatory to this declaration, on behalf of the manufacturer, and the responsible person based within the EU, is identified below.

	Yamatake Europe N.V.
	

	Bosdellestraat 120/2

B - 1933  Zaventem (Sterrebeek)

BELGIUM
	T.  Kurasawa

Managing Director

	
	Issue Date:
	
	, 20
	


