[image: image1.png]


1 / 3
Advanced Automation Company

International Business Department

No. 07-A-0168E
3 / 3
No. 07-A-0168E

Date:
June 5, 2008
To:
Those listed

Issued by:
T. Kurasawa, General Manager

Subject:
DCP551A/552A Obsoletion and DCP551B/552B Availability

Summary:
DCP551A/552A Digital Control Programmers with memory card functions will be obsoleted. Alternative DCP551B/552B without memory card functions and the SLP-P55J60 Smart Loader Package are now available.
Background:
The DCP550 series has been available since 1991. The DCP551A/552A with memory card functions will be obsoleted because their memory card components have been discontinued by the supplier. The DCP551B/552B without memory card functions and the SLP-P55J60 Smart Loader Package are now available.
Utilizing the SLP's file management, the DCP551B/552B are substantially compatible with the DCP551A/552A. There is no change in specifications and appearance other than memory card functions.

Required action:

Request users of the DCP551A/552A to replace them with the DCP551B/ 552B before the obsoletion date in March 2008. The DCP551B/552B used with the SLP-P55J60 are functionally compatible with the DCP551A/ 552A (excluding the Mark I model).
DCP551A/552A obsoletion date:

March 31, 2008

· Orders with large volume might not be accepted.

DCP551B/552B available date:

December 1, 2007

Selection guide:

	Basic No.
	Memory card
	PV input
	Carbon potential
	Option
	Treatment
	Description

	DCP551
	
	
	
	
	
	1 loop

	DCP552
	
	
	
	
	
	2 loops

	[image: image2.png]1) DCPSSO A(E) 2) DCPS5 O B(F)





	A
	
	
	
	
	Mark II
with memory card

	
	B
	
	
	
	
	Mark II
without memory card

	
	
	1
	
	
	
	PV 1 channel

	
	
	2
	
	
	
	PV 2 channels

	
	
	
	0
	
	
	None

	
	
	
	1
	
	
	Provided*

	
	
	
	
	0
	
	None

	
	
	
	
	1
	
	1 auxiliary output

	
	
	
	
	2
	
	2 auxiliary outputs
and communications

	
	
	
	
	
	00
	None

	
	
	
	
	
	D0
	With test data

	
	
	
	
	
	Y0
	With traceability
certification

	
	
	
	
	
	
	

	
	
	
	
	*Not available for the DCP551


Appearance comparison:

SLP-P55J60 available date:

March 1, 2008

The SLP-P55J60 is a software enabling the DCP550 pattern programing and initial setup on a Windows PC. Details are soon announced.

· The SLP-P55J60 does not have a trend monitoring function.

Until the release of the SLP-P55J60, light file management software, whose functions are limited to uploading/downloading, will be tentatively distributed as a sample version.

Repair service period:

Approx. 7 years from the obsoletion date

· This period depends on the stock of parts.

Remarks for replacement:

i) The DCP550 Mark I (product from 1991 to Mar. 1998), which does not have a loader port on the front panel, cannot be used with the SLP-P55. To upload the stored data in the DCP550 Mark I, save the data to a memory card once, and upload it via DCP551A/552A Mark II.

ii) The SLP-P55J60 Windows version cannot read a file saved by the SLP-P55J10 MS-DOS version. To read the data, download it to the DCP550 by the SLP-P55J10, and then upload it by the SLP-P55J60.

Memory card availability:

The SKM*** memory card for the DCP550 will continue to be available for a certain period.
Obsoleted





Newly available





Without memory card





With memory card





Lock screw





Key cover


(preventing accidental key operation)





Lock screw


(fixing the unit to the casing)





Key cover





Memory card slot








YAMATAKE CORPORATION
1-12-2 KAWANA, FUJISAWA-SHI, KANAGAWA 251-8522 JAPAN TEL: 81-466-20-2307 FAX: 81-466-27-9264


