SVP CHECK SHEET


★ Model No.(Tag No.) :                          (                 )
★ Production No. :                                                 
1. Conditions at finding SVP’s failure
#. Date of finding failure :                           (Year/Month/Date)

#. Plant status : □at commissioning □at commercial operation

#. Working period :       years（Plant Start-up :                       (Year/Month/Date)） 
#. Abnormal appearances :

2. Installation Conditions


　
	1. SFC print-out data at finding failure
	2. SFC print-out data after check work

	
	











CHECK POINTS :


Whether SFC print-out data at finding failure be available?


Output air press. with supplying input signal:    kPa/    mA


Actual CV travel position :      %,      mm


Whether feedback lever poison be horizontal at 50% travel


Whether SVP be tightened on CV?


Whether input signal be correctly supplied?


Whether supply air pressure be normal?


Whether A/M switch position be correct?


Whether CV work correctly at manual operation?


Whether configuration data not contain abnormal value?








CV SPECIFICATIONS :


CV Model :                 


(Manufacturer :              )


Actuator Model :            


Gland Packing :            


Spring Range :             





Vibration of CV : Yes or No


Location : Indoor or Outdoor












































NOTE : (1)Input required data. (2)Site inspection “CHECK POINTS” with this sheet. (3)Mark ✓. (4)Attach SFC print-out data on this sheet. (5)Attach scan data file of this sheet to “QA Report”. 


