Business activity report Regis Houllier France June 2012
Contact ARCADIS ESG

9, Avenue Réaumur

92354 Le Plessis Robinson

Mr AMAYER has urgent need of mechanical flowmeter for air and for pump calibration
20l/mn flow is requested and lower. Need better accuracy than mechanical flowmeter; So finally offer mass flowmeter.
Contact Thuilier

4 Rue des papetiers 
38300 BOURGOIN-JALLIEU 

Mr Rabilloud is looking for Electromagnetic flowmeter for 10m3/h water with indicator ; also 2 float meter Minix for 530l/h and Tubux with 10m3/h. This is for school. He finds us via Internet

Make quote A2012RH215

Contact M+W France S.a.r.l 
Rousset Parc Club, 118 Avenue Francis Perrin, 

13106 Rousset Cedex, France 

Mr Toulaigo is looking for a counter of calories for cool liquid as well as ultra-sonic sensor for DN200 non-intrusive application.

Decline

Contact Getinge Lancer

30 Boulevard de l'Industrie - ZI de Pahin
31170 Tournefeuille - France

Mr Duprat Jean-Michel is looking for replacement of mechanical flowmeter.

I suggest to use F5 as the flow is quite low: 1l/mn but we need to check if fluid will be OK or not first. Finally make offer with F5 and some restriction: A2012RH223

Contact ENSCCF

24 Avenue des Landais - BP 187 
63174 Aubière Cedex

Mr Alexis JEAN is looking for Mechanical flowmeter with valve, 1/4'' NPT connection in polypropylene, Tube in borosilicate, length 75 mm · float in SS,  Pmaxi : 16 bar · Tmaxi : 80°C · accuracy 4% (Qg=50 %) flow: 1.6 to 16 L/H (20°C, 1 bars abs).

I have offered Minix with Pressure and temp limitation.

Make offer A2012RH220
Contact Impulsys

Tuyauterie industrielle & de process
13590 Meyreuil
Mr Eric COULOMB is looking for 4 flowmeter for CO2 at 107Nm3/h and 14Nm3/h pressure 5 bars

Make offer A2012RH219

Contact BONNABAUD.systèmes

101 Rue Delaunay

F-42153 Riorges

Mr Jordan PEDRINI is looking for Trogflux flowmeter C315 and G1/2

Make offer A2012RH221
Contact Vallourec

54 Rue Anatole France

59620 Aulnoye-Aymeries

Mr Emery is looking for replacement of gear flowmeter for demineralized water at 1µs for very low flow <10l/h. I offered F5 with M1

A2012RH229
Contact Ibitek France

Technopole Marseille Provence
Europarc - Batiment B
26 rue John Maynard Keynes
13013 Marseille – FRANCE

Mr Gauthier is looking for 2 Staudex 7ME5870-3AB00 for export business as far as I can guess. Certainly in Africa. Make quote A2012RH230
Contact Thales

2, avenue Gay Lussac

CS90502

78995 Elancourt cedex 

Mr  Raby is loking for one Trogflux for 42l/mn water application.

Make quote A2012RH234
Contact M2es Technologies

ZAE Plan Cumin

Rue du Gamay

73800 LES MARCHES

Benoît HOFFERER is looking for solution for 96 flowmeters for water 1200l/day. Need two solutions, one with indication only and one with 4-20mA output

Make quote A2012RH236
Contact Summit

Stamholmen 147

DK-2650 Hvidovre

Steen Holm Madsen is lloking for abrasive flow solution with water 80% and Activated carbon particule. A DN50 would be OK but liner should be resistant as well as the eletcrodes

Contact EPF

22 avenue Berthelot

34070 Montpellier

Mr blaclard is looking for one flowmeter 125l/h low cost

Make quote A2012RH232. Received order 2 days later

Contact Climapro

1 Chemin De La Longue Raie 

91760 Itteville

Mr Quevarec is looking for one Trogflux for water and 20%glycol

Flow 8000l/mn Make quote A2012RH240

Receive the order 3 days later

