Business activity report Regis Houllier France November 2012
Contact Arcbiogaz

Lapourcal

47260 Castelmoron-sur-lot

Mr Faure is looking for a mechanical flowmeter for Air at 30°C, Pressure 0.2gage and 1 to 4Nm3/h

Make offer A2012RH406

Contact H2eau assistance

15 Rue des Bures  92380 Garches

Mr Louis is looking for an insertion type flowmeter with pneumatic (DP sensor) display with Arrow

I propose him Intra solution but he did not want to modify the installation. So I decline

Contact CEA

Mr Juhel is looking for electromagnetic flowmeter -30m3/h to +30m3/h with good accuracy in low flow

I confirm possibility to use range in both sides however I explain that accuracy is going down to very bad value close to zero m/s

Make offer A2012RH410 with information about accuracy at low flow

Contact DPN Vannes

Batiment F15

Residence les Fourques
13220 Châteauneuf-les-Martigues
Mr Net is looking for flowmeters mechanical for Air at 4 bars flow: 0-100l/h; 0-1000l/h and 0-5000l/h. This is for leak detection of valves

Make offer A2012RH411
Contact NNE Pharmaplan

Chartres Business Park, 
3 av Victor Hugo Bât A 1er, 

FR-28000 Chartres, France

Mr Moretto looks for 1 flowmeter nitrogen 400l/h at 3 bars with contact. After discussion with Hassan, we decline because too low flow and RE250 too big solution

Contact MBDA company

Bourges France,

Mr André SEZESTRE is looking for 2 to 3 flowmeters mechanical to measure up to 1000m3/h air at atmo pressure.

Make offer A2012RH418
Contact SOGEA SUD OUEST HYDRAULIQUE

3 Rue GASPARD MONGE

33606 PESSAC

Mr Olivier LACOUR is looking for mechanical flowmeter for Water DN20 & DN25
Flow is 3m3/h

Make offer Tubux via A2012RH424
Contact université de Lille 1

Villeneuve d’ascq

Dr TRAN Khanh-Hung is looking for 1 mechanical flowmeter type Minix MA150-20 for 3000l/h air measurement

Made offer A2012RH426

Won the order 2 days later

Contact Degrémont

Mr Francois-Xavier Allard is looking for mechanical flowmeter for H2S gas in 140l/h at 3 bars Temperature : 20°C with screwed connection.

Make offer A2012RH432

Contact Elaiapharm
2881 Route des Crêtes, 
06904 Sophia Antipolis
Mr Didier watel is looking for Nitrogen application, one mechanical flowmeter type Minix or Tubux with high and low contact. I recommend Tubux and make offer A2012RH433

Contact Amtech

6 La fosse yvon 
50440 beaumont hague
Mr Hamel is looking for an electromagnetic flowmeter for nitric acid flow in DN40, with remote display

With counting system and signal when totalisation meet a certain qty of liquid.
Review with Hassan and make offer A2012RH444
Visit Renault Sport F1

1 à 15 av. Du pdt Kennedy

91117 Viry Chatillon

Mr Billete is looking for flowmeter, preference mechanical flowmeter for water and oil measurement.

I have introduced area flow solution flowmeter however they need signal output in 4-20mA or pulses. For water application, I introduce the Magfluw A but they find this solution much too heavy for installation at test bench.

Visit Findus
25 bd du basin Napoléon

62200 Boulogne sur mer

Mr Lefevre is looking for oil flow measurement. Oil is from Corn and colza. Material should be all SS316 and resist to karcher cleaning solution with water and 4% soda.

The level of accuracy is very high (<0.5%) and mechanical flowmeter is not good enough. Electromagnetic flowmeter is not appropriate because no conductivity of oil.

So decline

